## All Stuff
Ref Desg | Quantity | Part # | DK Number | Desc. | Cost Each | Total
| 1 |  |  | Receiver | 126.93 | 126.93
| 2 |  |  | Transmitter | 75.95 | 151.9
| 1 |  |  | Voltage Probe | 35.81 | 35.81
| 1 |  |  | Current Probe | 49.66 | 49.66
| 1 |  |  | Misc | 41.89 | 41.89
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
| 6 |  |  | TOTAL |  | 406.19

## Receiver
Ref Desg | Quantity | Part # | DK Number | Desc. | Cost Each | Total
IC101,102 | 2 |  | A20211-ND | Fiber-Optic Receiver | 17.78 | 35.56
C101-C104 | 4 |  | PCC104BCT-ND | 100nF 50V SM Capacitor | 0.61 | 2.44
C105-C106 | 2 |  | PCC103BCT-ND | 10nF 50V SM Capacitor | 0.2 | 0.4
C107-C108 | 2 |  | PCC101CCT-ND | 100pF 50V SM Capacitor | 0.19 | 0.38
C109-C110 | 2 |  | PCS5106CT-ND | 10uF 25V Tantalum Capacitor | 0.7 | 1.4
C111 | 1 |  | PCS2106CT-ND | 10uF 10V Tantalum Capacitor | 0.35 | 0.35
C112-C113 | 2 |  | SG3028-ND | 5-65pF Variable Capacitors | 2.77 | 5.54
R101-R102 | 2 |  | P10ECT-ND | 10 Ohm 1/8W SM Resistor | 0.026 | 0.052
R103-R104 | 2 |  | P100ECT-ND | 100 Ohm 1/8W SM Resistor | 0.026 | 0.052
R105-R106 | 2 |  | P51ECT-ND | 51 Ohm 1/8W SM Resistor | 0.026 | 0.052
R107-R108 | 2 |  | P1MECT-ND | 1M Ohm 1/8W SM Resistor | 0.026 | 0.052
R109 | 1 |  | P680ECT-ND | 680 Ohm 1/8W SM Resistor | 0.026 | 0.026
R110 | 1 |  | P220ECT-ND | 220 Ohm 1/8W SM Resistor | 0.026 | 0.026
R111-R112 | 2 |  | 3296Y-103-ND | 10K Ohm 3/4W Variable Resistor | 2.5 | 5
R113-R114 | 2 |  | P1.0KECT-ND | 1K Ohm 1/8W SM Resistor | 0.026 | 0.052
S101 | 1 |  | CKN1034-ND | DPDT Switch | 7.38 | 7.38
| 4 |  | RS-270-326 | 9V Battery Holders | 0.5 | 2
J101-J104 | 4 |  | ARF1064-ND | BNC Panel Connectors | 2.1 | 8.4
J105-J108 | 4 |  | BS121-ND | 9V Batter Clips | 0.31 | 1.24
J109 | 1 |  | J587-ND | Ground Binding Post | 1.92 | 1.92
IC103 | 1 |  | LM837N-ND | LM837N Op Amp IC | 2.28 | 2.28
IC104 | 1 |  | LM337LZ-ND | LM337L Voltage Regulator | 1.82 | 1.82
| 4 |  | 724K-ND | Rubber Feet | 0.349 | 1.396
| 4 |  | J181-ND | Aluminum Stand Offs | 0.375 | 1.5
| 16 |  | H356-ND | 3/8" #6 screws | 0.0159 | 0.2544
| 8 |  | H220-ND | #6 Nuts | 0.0128 | 0.1024
| 8 |  | H240-ND | #6 Lock Washers | 0.0113 | 0.0904
| 1 |  | HM154-ND | Cast Aluminum Box | 19.16 | 19.16
B201-B204 | 4 |  |  | 9V Alkaline Battery | 2 | 8
PCB101 | 1 |  | FinnPCB101 | PB Board | 20 | 20
|  |  |  | TOTAL |  | 126.9252

## Misc
Ref Desg | Quantity | Part # | DK Number | Desc. | Cost Each | Total
| 1 |  | A11BBC-0210D-ND | 10 Meter Fiber-Optic Cable | 37.42 | 37.42
| 1 |  | PC300-69-ND | 0.029" Drill Bit | 2.51 | 2.51
| 1 |  | PC300-60-ND | 0.040" Drill Bit | 1.96 | 1.96
|  |  |  | TOTAL |  | 41.89

## Current Probe
Ref Desg | Quantity | Part # | DK Number | Desc. | Cost Each | Total
10 Ohm Shunt | 1
R401 | 1 |  | P10XCT-ND | 10 Ohm 1 Watt SM Resistor | 0.4718 | 0.4718
| 2 |  |  | 18 Guage Test Lead - 5 inches | 0.2 | 0.4
| 2 |  |  | 22 Guage Wire - 4 inches | 0.1 | 0.2
| 1 |  |  | 1 Inch Pipe Cap | 1 | 1
| 1 |  |  | Epoxy Cast | 1 | 1
| 2 |  | A0885-ND | 1/4 Inch - 18-22 Lug | 0.2233 | 0.4466
3.5184
1 Ohm Shunt | 1
R501 | 1 |  | P1.0UCT-ND | 1 Ohm 1 Watt SM Resistor | 0.8822 | 0.8822
| 2 |  |  | 18 Guage Test Lead - 5 inches | 0.2 | 0.4
| 2 |  |  | 22 Guage Wire - 4 inches | 0.1 | 0.2
| 1 |  |  | 1 Inch Pipe Cap | 1 | 1
| 1 |  |  | Epoxy Cast | 1 | 1
| 2 |  | A0885-ND | 1/4 Inch - 18-22 Lug | 0.2233 | 0.4466
3.9288
0.1 Ohm Shunt | 1
R601 | 1 |  | P.10UCT-ND | 0.1 Ohm 1 Watt SM Resistor | 1.633 | 1.633
| 2 |  |  | 18 Guage Test Lead - 5 inches | 0.2 | 0.4
| 2 |  |  | 22 Guage Wire - 4 inches | 0.1 | 0.2
| 1 |  |  | 1 Inch Pipe Cap | 1 | 1
| 1 |  |  | Epoxy Cast | 1 | 1
| 2 |  | A0885-ND | 1/4 Inch - 18-22 Lug | 0.2233 | 0.4466
4.6796
0.01 Ohm Shunt | 1
R701-R710 | 10 |  | P.10UCT-ND | 0.1 Ohm 1 Watt SM Resistor | 1.633 | 16.33
| 2 |  |  | 22 Guage Wire - 4 inches | 0.1 | 0.2
| 1 |  |  | 1.5 Inch Pipe Cap | 1.5 | 1.5
| 2 |  |  | Copper Strap | 1 | 2
| 2 |  |  | Current Shunt PCB | 3 | 6
| 1 |  |  | Epoxy Cast | 1.5 | 1.5
PCB701 | 2 |  | FinnPCB701 | PC Board | 5 | 10
37.53
|  |  |  | TOTAL |  | 49.6568

## Voltage Probe
Ref Desg | Quantity | Part # | DK Number | Desc. | Cost Each | Total
R301-R320 | 20 |  | P1.0MXCT-ND | 1M ohm 1 watt SM Resistors | 0.4718 | 9.436
R321 | 1 |  | P1.0KECT-ND | 1K Ohm 1/8W SM Resistor | 0.026 | 0.026
| 2 |  |  | 22 Guage - 5 inch Wire | 0.1 | 0.2
| 2 |  |  | Test Lead Wire - 10 inch | 0.25 | 0.5
| 1 |  |  | 2 inch PVC Pipe Cap | 5 | 5
| 1 |  |  | Mineral Oil | 0.25 | 0.25
| 2 |  | A0885-ND | 1/4 Inch - 18-22 Lug | 0.2233 | 0.4466
PCB301 | 1 |  | FinnPCB301 | PC Board | 10 | 10
|  |  |  | TOTAL |  | 25.8586
Ref Desg | Quantity | Part # | DK Number | Desc. | Cost Each | Total
R351-R358 | 8 |  | P100KXCT-ND | 100K Ohm 1 watt SM Resistors | 0.4718 | 3.7744
R359 | 1 |  | P1.0KECT-ND | 1K Ohm 1/8W SM Resistor | 0.026 | 0.026
| 2 |  |  | 22 Guage - 5 inch Wire | 0.1 | 0.2
| 2 |  |  | Test Lead Wire - 10 inch | 0.25 | 0.5
| 1 |  |  | 2 inch PVC Pipe Cap | 5 | 5
| 2 |  | A0885-ND | 1/4 Inch - 18-22 Lug | 0.2233 | 0.4466
|  |  |  | TOTAL |  | 9.947
|  |  |  | TOTAL |  | 35.8056

## Transmitter
Ref Desg | Quantity | Part # | DK Number | Desc. | Cost Each | Total
C201-C202 | 2 |  | PCS2476CT-ND | 47uF 10V Tan Capacitor | 1.208 | 2.416
C203 | 1 |  | PCS2106CT-ND | 10uF 10V Tan Capacitor | 0.476 | 0.476
C204 | 1 |  | PCC103BCT-ND | 10nF 50V SM Capacitor | 0.2 | 0.2
C205 | 1 |  | PCC100CCT-ND | 10pF 50V SM Capacitor | 0.16 | 0.16
R201 | 1 |  | P499FCT-ND | 499 ohm 1% SM Resistor | 0.039 | 0.039
R202 | 1 |  | P470VCT-ND | 470 ohm 1/2 watt SM Resistor | 0.087 | 0.087
R203 | 1 |  | P2.2KECT-ND | 2.2k ohm 1/8 watt SM Resitor | 0.026 | 0.026
D201 | 1 |  | 67-1165-ND | Amber Panel Mount LED | 1.26 | 1.26
S201 | 1 |  | CKN1021-ND | SPST Switch | 3.75 | 3.75
IC201 | 1 |  | A20210-ND | Fiber-Optic Transmitter | 17.33 | 17.33
J201-J202 | 2 |  | J164-ND | Red Binding Posts | 1.54 | 3.08
J203 | 1 |  | J165-ND | Black Binding Post | 1.54 | 1.54
J204 | 1 |  | J587-ND | Ground Binding Post | 1.92 | 1.92
| 1 |  |  | PC Board | 10 | 10
| 1 |  | HM158-ND | 4.33x3.23.1.58 Cast Al Box | 10.56 | 10.56
| 1 |  |  | #6 nut, screw, and washer | 0.1 | 0.1
J205 | 1 |  | BS121-ND | Battery Connector | 0.31 | 0.31
| 1 |  | RS-270-326 | Battery Holder | 0.5 | 0.5
B201 | 1 |  |  | 9V Alkaline Battery | 2 | 2
| 1 |  |  | 3/8 inch Thin Nut | 0.2 | 0.2
| 1 |  |  | 12 inch 1/4 inch Copper RF Tape | 0 | 0
| 1 |  |  | Cast Aluminium Box | 10 | 10
PCB201 | 1 |  | FinnPCB201 | PC Board | 10 | 10
|  |  |  | TOTAL |  | 75.954